Questions & Answers

Question 1.  In obtaining pricing for the casegoods, our representative has brought it to our attention that the dimensions shown on the specification for the Chief Suite king bed (CS-FURN21) are different than published by the manufacturer.  Can you please confirm that the dimensions that are shown on the specification are incorrect and that this is not anticipated to be modified to be a custom piece?

Vendor:                               Bernhardt

Item Name:                        Madison King bed

Item No.:                             756-HFR66

Dimensions:                       68 3/4” W x 88 1/8”D x 60 1/8” H (SS specification)

84 3/4” W x 88 1/8”D x 66 1/8”H (Bernhardt)

Answer 1.  Regarding CS-FURN 21, the dimensions should be 84 ¾” x 88 1/8” x 66 1/8”.  It appears the dimensions for the queen bed were listed on the Finish Sheet as opposed to the king bed.

Attached, please find the SS specification issued for the Chief Suite – King bedroom lounge chair (CS-FURN7).  Quality & Company is preparing their bid for this chair and have asked if we can clarify the leather placements on the chair.  The spec states that one COL (Spinneybeck Distressed leather #DT68 – specification no. CS-UPH1) is for the body and seat cushion and the other COL (Spinneybeck #3COLHH Tri-color – specification no. XS-UPH6) is for the inside seat back.  Their question that we require clarification is…when they state inside seat back does this include the inside back and inside sides?  Also, does this include the apron or is that part of the body for the other COL material?

Answer 2. Regarding CS-FURN7, the inside seat back is not integral to the inside seat “sides” (see attached photo) The actual inside seat back is intended to be the only part of the chair that is upholstered in the CS-UPH6.  The attached photo (which is included in the Finish Sheet for CS-FURN7) should very clearly illustrate where CS-UPH6 is intended to go on the lounge chair.