Housing Authority of the Cherokee Nation

www.cherokee.org

REQUEST FOR BIDS

Storm Doors – Low Rent Project 45-48

Solicitation # 2013-001-042

Bid Due Date:  April 12, 2013 @ 2:00 PM

Housing Authority of the Cherokee Nation

P.O. Box 1007

Tahlequah, OK 74465-1007

(918) 456-5482

Housing Authority of the Cherokee Nation

BID REQUEST

The Housing Authority of the Cherokee Nation is seeking bids from interested parties for doors only (40) “OLNEY STORM DOORS OR EQUAL TO, SEE SPEC SHEET ATTACHED.  THIS ORDER WILL BE DELIVERED TO HOUSING AUTHORITY OF THE CHEROKEE NATION PROJECT 45-48 LOCATED @ 1300 NOLA ST. IN TAHLEQUAH, OKLAHOMA.  THE  ORDER MUST BE DELIVERED WITHIN (35) DAYS AFTER ISSUE / RECEIVING PURCHASE ORDER. TO BE CONSIDERED A RESPONSIVE/RESPONSIBLE BIDDER, THE MANDATORY BID RESPONSE SHEET MUST BE FULLY COMPLETED.  Bids are due no later than 2:00 p.m. April 12, 2013.

The lowest most responsive, responsible bid will be the determining factor in awarding this bid based on The Housing Authority of the Cherokee Nation Policy and Procedure.  The successful bidder will be issued a purchase order incorporating the bid response.

Bids are due April 12, 2013 by 2:00 p.m.

MANDATORY SUBMITTAL INFORMATION: Bid submittal requirements must be followed.  Each bid must be submitted on the prescribed, required form with all areas completed.  If forwarded by mail, the envelope containing the bid and all other required, completed documents must be received on or before due date listed.  Bids may be mailed to the Housing Authority of the Cherokee Nation, Attn: Herman Augerhole, P.O. Box 1007, Tahlequah, OK 74465.  Bids may be faxed to the attention of Herman Augerhole at (918) 458-5637 or e-mailed to william-augerhole@cherokee.org it is the bidder’s responsibility to ensure delivery of bids by April 12, 2013 by 2:00 p.m.  Any bids received after the designated date and time will be ineligible for award.

Bid Acceptance:  Bids will be accepted from Indian and Non-Indian bidders.  Housing Authority of the Cherokee Nation reserves the right to reject any and all bids.  Housing Authority of the Cherokee Nation reserves the right to determine if a bid meets stated requirements, and to award a purchase order for the bid that is in the best interest of the Housing Authority of the Cherokee Nation including but not limited to the total cost and capability of the bidder.  Bidders are responsible for any and all costs associated with the preparation and submission of bids.  To be considered, bids must be received by the specified date and time; any bid received after stipulated date and time will be returned unopened.  No bidder may withdraw their bid within 30 days after proposal due date.

Bidder may contact Inspector William Hooper @ 918-458-1387 for questions.

TERO Certification:  Indian preference will be given only to bidders who provide proof of current certification from the Cherokee Nation Tribal Employments Office (TERO) located in Tahlequah, Oklahoma, telephone number (918) 456-0671.  Proof of TERO certification must accompany and be included in bid submittal.

Method of Award – Lowest Bid That Contains Lowest Most Responsive/Reasonable Offer From Qualified Bidder:  After consideration of price and other factors, the purchase order will be awarded to the bidder whose bid is determined to be the lowest most responsive/reasonable offer and in the best interest of the Nation to accept in accordance with Cherokee Nation Acquisition Management Policy & Procedure.  Award shall be made under unrestricted solicitations to the lowest, most responsive/reasonable bid from a qualified economic enterprise or organization within the maximum total budget price established for the specific project or activity being solicited.  TERO Preference will be given only to bidders who provide proof of current TERO certification from the Cherokee Nation Tribal Employments Office (TERO).  Proof of TERO certification must accompany and be included in bid submittal.

Debarment, Suspension, Proposed Debarment, and Other Responsibility Matters:  The responding party certifies to the best of its knowledge and belief that the person, the firm, or any of its principals are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency or Indian tribe.  The bidder will also certify they have not, within a three-year period preceding this Request for Proposal, been convicted of or had a civil judgment rendered against them for:  commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, State, Local or Tribal) contract or subcontract; violation of Federal or State antitrust statutes relating to the submission of offers; or commissions of embezzlement, theft, forgery, bribery, falsifications or destruction of records, making false statements, and are not presently indicted for, or otherwise criminally or civilly charged by a governmental entity with, commission of any of the offenses enumerated in this provision.  The responding party certifies they have not, within a three-year period preceding this Request for Proposal, had one or more contracts terminated for default by a Federal, State, Local or Tribal agency.  The responding party shall provide immediate written notice to the Housing Authority of the Cherokee Nation if, at any time prior to contract award, the person learns its certification was erroneous when submitted or has become erroneous by reason of changed circumstances.

General Information:  Housing Authority of the Cherokee Nation reserves the right to waive any informalities or to reject any and all bids.  Award of purchase order will be to the lowest most responsible responsive bidder and will be subject to availability of funds.  Indian preference will be given to Contractors certified as an Indian-Owned firm by the Cherokee Nation Tribal Employment Rights Office (T.E.R.O.).  Proof of certification must accompany all bids.  No bidder may withdraw their bid within thirty (30) days after bid opening date.

MINIMUM SPECIFICATIONS

- PRODUCTS: All extrusions are made from 6063 T5 aluminum.

- Z-HEADERS: The z-header attaches to the z-bar with # 6x1” screws. A groove is provided to accept felt for weather stripping. It also has a built in drip cap to shed rain. The frame dimension is 1.937”X 1.545”X.050 typical wall.

- Z-BAR: The z-bars make up the frame of the door on both sides. One side will be punched to accept six (6) hinges. A track built into the frame will accept felt for weather stripping. The frame dimension is 1.625” x 1.875”x.050 typical wall.

- HINGES: The door come with six (6) hinges which are made up of Oilite brass bushings to hold the stainless steel pin and springs. Hinge wall thickness is .085.

- MAIN FRAME: The main frame has a continuous cavity that is an integral part of the door for inserting the screen frame and also to hold the kick plates firmly in place. There is an interlock flange on the side to lock the hinge pieces in place. The dimensions are 1.20”x2.5x.055 typical wall.

- CORNER: There is steel gusset corners in which of the four (4) corners secured with #10 screws.

- KICKPLATE: The kick plates are a hollow extrusion with a center cross web for added support. Each has a tongue on one side and a groove on the other side to facilitate stacking them to any desired height. The kick plates are held in place by the continuous cavity in the main frame. The dimensions are 1.00”x4.00”x.050 typical wall.

- CENTER BAR: The center bar is inserted into the continuous cavity of the door on top of the kick plates. The dimensions are 1.25”x2.00”x.055 typical wall.

- SCREEN FRAME: The screen frame is an”L” shape which is miter cut. It has raised ridges on the surface where the wire lies to help in securing the wire tightly to the frame. The dimensions are 1.374”x1.045”x.060 typical walls. A small ridge on the bottom snaps into the bottom rail.

- SILL EXPANDERS: The sill expander is an adjustable shape that fits on the bottom of the main frame for final fitting. It has two recessed grooves to accept vinyl in one or both grooves. The dimensions are 2.5”x1.38”x.055 typical wall.

- COVER PLATE: The cover plate is used to secure the wire to the screen frame. It has raised ridges to accomplish that task. It also has a channel on each side to accept a vinyl stripping which serves to hide the screws from view. The cover plate dimensions are .830”x.167”x.062 typical wall.

- INSERT TRACK: A track will be inserted into the main frame which allows the glass panels to travel up and down. With a Felt to be inserted into a track.

- GLASS and GLASS MOLD: The glass used will be 1/8” tempered. It will be surrounded by extruded glass mold with marine type glazing to ensure a snug fit. The bottom rails of the top and bottom panels will have spring loaded metal slide bolts which will go into sash.

- HARDWARE:  A heavy duty kit consisting of a handle assembly with a push button to the outside and sliding dead bolt to the inside. Both the latch and dead bolt lock on the z-bar. The closure is a pneumatic type; it can be installed either at the bottom of the door. With a wind chain to be installed.

- FINISH: Mill finish.

- WIRE: Wire will be stainless, 12x12 mesh .023-.028 gauge

- WARRANTY: (1) year workmanship and materials.

MANDATORY BID RESPONSE SHEET

The Supplier as Bidder agrees to bid all material to (Specifications) and delivered “1300 Nola St. Tahlequah. OK” ORDER MUST BE DELIVERED WITHIN (35) DAYS AFTER ISSUE / RECEIVING PURCHASE ORDER.

Specifications:

(20) LH  	2’-8” Storm Doors					$____________

(20) RH  	2’-8” Storm Doors					$____________

Total: $____________

NOTE TO BIDDERS REGARDING INDIAN PREFERENCE

TERO Certified Contractor:  _____ Yes     _____ No

(Proof of certification must accompany all bids)

SUBMITTED:		________________________________________________

Company Name

________________________________________________

Company Address

________________________________________________

Authorized Signature