Cherokee Nation Welcome Center

16200 East Skelly Drive, Tulsa, OK 74116

Replace One 5 Ton Split System

208/230-3 phase Condenser , 90 % upflow furnace 100,000 input

- (90%+ Furnace and 13 SEER Condenser/Coil)

- Removal and disposal of existing unit

- Recovery of refrigerant per EPA regulations

- 410 A Refrigerant

- Connect to existing electrical

- Connect to existing controls

- Connect to existing gas piping

- Connect to existing PVC intake/exhaust and condensate drain

- Provide and install transitional ductwork

- Replace copper line set (Specify size of new line sets)

- Filter Base (Spaced permitting)

- All work to be done in accordance with all applicable City and State codes

- City of Catoosa inspection, license, and permit required

- Uphold manufacturer’s warranty+-

- Perform startup and system check

- Removal of all debris from installation

- Must have sufficient and licensed crew

- Provide 24/7/365 service response if needed

- Regular work hours 8am to 5 pm Daily(must coordinate schedule with project Manager)

- Must keep area clean during work times and clean site on daily basis

- Adhere to all TERO rules and regulations

- CNE Contact - Jon Kerr (918-931-0526)