Plumbing Scope

Interchange Building

10838 East Marshall Street  Tulsa, OK

Install gas piping and Condensate drains as specified on Prints.

Job requires city of Tulsa Permit and inspection

Work performed under state, city, OSHA Guidelines and specifications

Bids broken down into Material and Labor

Provide estimated length of work required to complete.

Responsible for any roof damage or repair created by work or crew.

Clean debris and trash from job on daily basis

Coordinate gas pressure adjustments with HVAC vendor during start up

Provide regulators for equipment on existing gas line.

Gas piping vendor required to hook gas up all the way to new units (6)

Abide by all TERO and CNE rules and regulations.