Tahlequah Accounts Payable

18922 North 466 Road

Tahlequah Ok .

Scope of Work:

Furnish labor and material for replacement of four roof top HVAC units. To include condensate drains run to the nearest roof drain or off the roof.  Materials and labor for replacement of existing service disconnects to include conduit for both line voltage and thermostat.

Units:

- 1  three  ton/75,000 BTU  with economizers and  curb adapter if needed

3 phase 230/208, natural gas

- 2  five ton /100,000 BTU   with  economizers and curb adapter if needed

3 phase 230/208, natural gas

- 1 three ton air only  with curb adapter if needed

Single phase 230/208

Site contact:

Kent Swim

HVAC  Journeyman

918.906.5129