Scope of Work

Replace copper piping, between the domestic hot water heaters and the hot water storage tanks, located in the casino 2nd Floor Mechanical Room.

Cherokee Nation Entertainment (CNE) – West Siloam Springs, OK

Vendor will be responsible for:

- Replacing all copper pipe, fittings, and shutoff valves.

- All fittings will be of the propress type.

- In order to limit the down time to the facility, efforts must be made to get one system online as soon as possible.  Isolation valves will have to be installed to accomplish this.  Once this has been done, work can be completed on the rest of the system.

- Vendor must have enough people on hand to ensure this work is done quickly and efficiently.

- Vendor must have access to supply house, in the event that something is forgotten, overlooked, or damaged.  If needed, this will not be an additional charge to CNE.

- Upon completion of work, all trash and extra material must be picked up and area inspected by a CNE employee.

**Insulating of the pipe will be performed by CNE.

Working Hours:

Work must begin on Sunday night, at 11:00pm.  One of the hot water heaters must be online, by 6:00am, if not sooner.

Smoking:

Vendors will be prohibited from smoking, while inside the building and while performing job duties.  There are designated smoking areas, if needed; CNE escort can direct you to these areas.

Contact Information (CNE-WSS):

Facilities Manager – Kenny Richard		E-mail kenny.richard@cnent.com

C# 918-260-8752

Facilities HVAC Journeyman – Andy Pruitt	E-mail andy.pruitt@cnent.com

C# 918-729-5943

Facilities Shop 					Office# 918-422-6380