Central Plant Spare Parts List

Direct Replacements please , You may price other manufacture if it meets same specs and doesn’t need any changes.

Hard Rock South & West Siloam Plants (TAS)

TAS Supply Pump and Motor (Priced Individual and all together as one piece)

TAS Condenser Pump and Motor (Priced Individual and all together as one piece)

TAS Cooling Tower Motor

TAS Cooling Tower Sump Valve and Controller

TAS Chiller Condenser Valve and Controller

TAS Chiller Supply Valve and Controller

TAS Secondary Hot water pump and motor (Priced Individual and all together as one piece)

TAS primary Hot Water pump

pump seals, bearings, sleeve kits for each different pump (Complete kit)

Hard Rock North Plant (McQuay)

450 ton Chiller Supply Motor

450 ton Chiller Supply Pump

450 ton Chiller Condenser Motor

450 ton Chiller Condenser Pump

450 ton Cooling Tower Motor

450 ton Cooling Tower Sump Bypass Valve and Controller

800 ton Chiller Supply Motor

800 ton Chiller Supply Pump

800 ton Chiller Condenser Motor

800 ton Chiller Condenser Pump

800 ton Cooling Tower Motor

800 ton Cooling Tower Sump Bypass Valve and Controller

Hot Water Secondary Pump

Hot Water Secondary Motor

Hot Water Primary Pump

Hot Water Primary Motor

Chiller Condenser Actuator Valve

Pump seal, bearing, sleeve kits for each different pump (complete kit)