SCOPE OF WORK FOR REPAIRS TO BUFFET KITCHEN DRAIN LINE

--REMOVE EXISTING STAINLESS STEEL SINK

--SAWCUT AND REMOVE CONCRETE AS NECESSARY

--REPAIR 4” CAST IRON DRAIN LINE, ESTIMATED 20 FT

--AFTER REPAIR AND LINE IS INSPECTED, POUR BACK CONCRETE

--RETURN SINK TO ITS ORIGINAL LOCATION

--CLEAN UP ALL RESULTING DEBRIS AND MESS

--BID TO INCLUDE ALL PARTS, LABOR AND COSTS OF INSPECTION

--JOB TO BE DONE AFTER NORMAL BUSINESS HOURS TO ACCOMMODATE THE KITCHEN OPERATION

--EPOXY FLOOR COATING TO BE REPLACED ON FINAL REPAIRS BY OTHER CONTRACTOR SO IS NOT A PART OF THIS BID.