Scope of work for the flooring at Cherokee Casino/West Siloam Springs

- Demo existing carpet and remove from facility. Allow owner to maintain only if existing carpet can be used again.

- Clean, scrape, and patch any and all areas of concrete slab before new carpet is installed.

- Install Durkin Hospitality Amargani Modular #876 Correspondence in the Poker Room during hours to be selected by owner. (216 square yards with 5% attic stock included)

- Install Durkin Hospitality Amargani Modular #585 Interaction in the ballroom and ballroom hallways during hours to be selected by owner. (1200 square yards with 5% attic stock included)

- Use existing base boards in both rooms.

- Give estimate of timelines for ordering materials and job completion from start date.

- All work must be professionally completed within the timeframe allotted and agreed upon. All CNE safety standards must be followed.

- Need to provide and verify flooring samples before ordering any materials.

- A visit to the “areas of install” will be scheduled during the pre-bid meeting and flooring contractor must verify measurements.