REVISED Scope of Work 020415:

CHEROKEE WSS SIGNAGE PACKAGE

Interior Channel Letters: Per file CHEROKEWSS-LETTERS-01, 02, and 03, remove existing reverse-lit letters and install new front-lit channel letters.

Letter backs are to be constructed of 1" thick PVC, painted dark brown, routed, and illuminated with GE Tetra LED's per manufacturer's layout. (layout to be provided for CNE approval) Letter faces are to be trimless, illuminated on face and side, with 1/2" thick acrylic with applied digital print. Price for all signs to include removal of existing signs to be replaced. The property wants to raise the height of most letters so that, where possible, all signage is at the same elevation. Install to include pattern approval from marketing manager.

Price to include installation and any lift costs associated with access.

24"h letters to read "REWARDS" "POKER ROOM" "HIGH LIMIT" "CASHIER" "QUALLA BALLROOM"

10"H letters to read "NON-SMOKING ROOM" "TOBACCO SHOP" "MEN" "WOMEN" "RESTROOMS" "RESTROOMS"

7"H letters to read "BEVERAGES" "BEVERAGES"

$_____________________________________________

OVERHEAD DIRECTIONAL SIGNAGE:

Per file CHEROKWSS-INTDIR-01B, manufacture and install new overhead directionals.  Aluminum cabinet and framing with .063 skin. Double-faced directional with six changeable panels per side. Shop drawings indicating servicability are required, please include cost of shop drawings in quote. Black vinyl reverse letters on white acylic, with digitally printed 'tree' graphics. Accent 'swoosh' cabinets on top and bottom. Quote to include installation with necessary length of 1.5" pipe to install through ceiling. Illuminate with GE Tetra LEDs.

Two(2) new signs, one by East Entry and one in Hallway between hotel and casino. East Side entry may be inaccessible due to slot machines in the area; if lift is unable to reach, contractor will have to supply scaffolding

$__________________________________________________

Reface existing: Please include cost to reface both sides of existing D/F Directional from CHEROKWSS-INTDIR-01A.

$__________________________________________________

CAUTION PLAQUE:

Manufacture and install 9.75" triangular cation plaques per CHEROKWSS-CAUTION-01. Signs to match existing on property. Genuine Cherry Oak frame, inset with photopolymer plaques with dimensional graphics. Swatches of wood and plastic materials to be submitted to confirm match with existing.Please provide quantity pricing for 0-10 units and 10-20 units.

$_________________________________________________

HOTEL WALL SIGN:

Per file CHEROKWSS-WEST-03A, remove existing sign reading 'HOTEL' and manufacture and install new sign with push-through letters and poker chip. Main cabinet to be 10'6"w routed panel, painted to match the building. Similar signs on properties in Fort Gibson and Ramona facilities. Cabinet to be 5" deep with 1/2" thick clear acrylic push through letters with black vinyl on faces. To be illuminated with GE LED's per GE's recommended lighting layout, to be provided to CNE before entering production. Poker chip to be 3'5"w with 1/2" thick black metal ring 'return', with white acrylic insert. Star and red graphics to be digitally printed.

$________________________________________________

PORT-AU-COCHERE DIRECTIONAL:

Per file CHEROKWSS-DIR-01A, reface existing signage or replace cabinet. If replacing cabinet, to match existing dimensions of 4'7"w x 2'w, to hang from existing pole and brackets. Routed graphics with GE LED illumination.

$_____________________________________________________