Equipment List

3 - Bard 208/230V 3ph Wall Mount with the following (Model #W36L2-B09MXXXXE)-

- Left Hand Connection

- 9Kw Electric Heater – Factory Installed

- Motorized Fresh Air Damper – 2 Position

3 – Supply Grille (Model #SG3)

3 – Return Air Grille (Model #RG3)

3 – 24v Wall Thermostat (Model #8403-058