## Sheet1
ATTACHMENT 1
CNE Cooling Tower/Water Cooled Condenser Cleaning Equipment List
Casino | Location | Equipment ID # | Equipment Type | Brand | Model # | Serial # | Mount Type | Design Gallons | Overflow Condition
Hard Rock | North Central Plant | CT-B1 (450 ton) | Cooling Tower | Marley | NC8407 | 10027309-A1-NC8407BG-10 | Ground-Piers | 490 | 1641
Hard Rock | North Central Plant | CT-C2 (450 ton) | Cooling Tower | Marley | NC8407 | 10027309-A1-NC8407BG-11 | Ground-Piers | 490 | 1641
Hard Rock | North Central Plant | CT-D3 (800 ton) | Cooling Tower | Marley | NC8411 | 10027309-A1-NC8407BG-12 | Ground-Piers | 505 | 2368
Hard Rock | South Central Plant | 610A (800 ton) | Cooling Tower | Evapco | 212-636 | 8-340427 | Platform -22'
Hard Rock | South Central Plant | 610B (800 ton) | Cooling Tower | Evapco | 212-636 | 8-340427 | Platform -22'
Hard Rock | South Central Plant | 620 (800 ton) | Cooling Tower | Evapco | 112-618 | 8-340425 | Platform -22'
Hard Rock | 6th Floor Roof | 175 ton | Cooling Tower | BAC | FXV-642-MM |  | Ground Mount -Roof | 207 | 753
Hard Rock | Casino 2 Roof | RTU 4 (95 ton) | RTU-Water cooled Condenser | Aaon | 49491 | 200311-BLGJ00125 | Roof Curb
Hard Rock | 6th Floor Roof | RTU 7 (45 ton) | RTU-Water cooled Condenser | Aaon | 49497 | 200311-BLGJ00126 | Roof Curb
Hard Rock | 6th Floor Roof | RTU 11 (40 ton) | RTU-Water cooled Condenser | Aaon | 49498 | 200311-BLGJ00127 | Roof Curb
Hard Rock | Casino 4 | RTU 19 (200 ton) | RTU-Water cooled Condenser | Aaon | 57678 | 200410-BLGJ00266 | Ground Curb
West Siloam | Central Plant | 610A (800 ton) | Cooling Tower | Evapco | 212-636 | 8-340427 | Platform -22'
West Siloam | Central Plant | 610B (800 ton) | Cooling Tower | Evapco | 212-636 | 8-340427 | Platform -22'
West Siloam | Central Plant | 620 (800 ton) | Cooling Tower | Evapco | 112-618 | 8-340425 | Platform -22'
Roland | Central Plant | CT-C1 (700 ton) | Cooling Tower | Marley | NC8411BG-14 | 10095866-A1 | Ground
Roland | Central Plant | CT-D1 (700 ton) | Cooling Tower | Marley | NC8411BG-14 | 10095866-A2 | Ground