Work is to be done in accordance with drawings and specifications as provided by 1Architecture, LLC.

Unless specifically excluded below, the scope of the project shall consist of:

- All work, supervision, labor, supplies, tools equipment, light, water, fuel, power, heat, transportation or other facilities necessary for the complete interior renovation and limited exterior and site construction as defined in the attached Contract Documents, dated February 23, 2018.

- Complete interior renovations and limited exterior and site construction include, but are not limited to:

  - Interior Demolition

  - Site Utilities and Conduit

  - Site Erosion Control and Grading

  - Exterior ADA Parking Space and Ramp

  - Exterior Hand and Guardrails

  - Exterior Siding, Deck, and Trim Repair

  - Electrical and Lighting

  - Mechanical Systems

  - Plumbing Systems

  - Dry Chemical Fire Suppression

  - Fire Alarm

  - Structural Bracing

  - Concrete Slab and Concrete Stair Repairs

  - New Wall Partitions and Ceiling Layouts

  - New Restrooms – First Floor

  - Wood Wall and Wood Ceiling Restoration

  - Wood Flooring Restoration and Tiling

  - Trim Carpentry

  - Door and Window Restoration and Replacement

  - Exterior/ Interior Painting

  - Restroom Accessories and Window Treatments

- All other work associated with the drawings and specifications.

Exclusions from the scope of the project:

- Water Well, Pump House, Waterline, and Electrical Line to be provided by Owner; Electrical Conduit by Contractor.

- Septic Tank, Lateral Field, and Sanitary Line outside of building to be provided by Owner.

- Security Surveillance cabling and equipment to be provided by Owner.

This is a lump sum bid for all work, however, bid form provided must be completely filled out.

The General Contractor will have to adhere to the Code of Conduct established by Cherokee Nation Businesses along with all insurance and bonding requirements as set forth in the bidding documents.

The General Contractor shall have experience with construction on historic buildings listed on the National Register of Historic Places and construction done per National Park Service Historic Preservation Guidelines. The General Contractor shall provide examples of historic preservation work completed within the last 10 years along with owner references.

This project is not a Historic Preservation project, but similar guidelines are included in the project specifications to be followed during restoration activities.

The General Contractor shall provide a list of all proposed subcontractors to be used on the project with the bidding documents.