Scope of Work – CNB Roof Extension

Cherokee Nation Businesses is seeking proposals from qualified General Contractors for construction of a roof extension at an existing office building at 1416 Wildcat Lane Tahlequah, Oklahoma.

The new roof extension will serve as a new covered breezeway and will allow for mechanical equipment to be housed in the rafters via decking and support columns. The following items will need to be included in the contractor’s scope of work:

- Extension of gable roof decking and framing to tie into adjacent metal building.

- All required flashing necessary to prevent water leaks at gable/metal building tie-in.

- All necessary materials such as trusses, framing, decking, matching soffit board, shingles etc.

- Support columns and decking to support new HVAC system (specifications will be provided for the new system).

- Access panel to be provided for HVAC access.

- Demolition and removal of existing breezeway canopy.

- Repair/replacement of stonework in work area.

- Painting of new soffit, fascia, and exposed wood to match existing.

- Tear off and re-roof existing roof and new extension with architectural grade shingles (provide SF pricing for decking replacement on existing roof if necessary)

- Demo concrete as necessary and recess an existing cleanout in sidewalk area.

HVAC system will be Owner provided and installed. Contractor will need to provide ample time for CNB to install the new unit and ductwork configuration.

Contractor is responsible for all permits, disposal fees and haul off.  Contractor is to provide a list of previous jobs and references.

The bids are a total lump sum price.