**REQUEST FOR PROPOSAL**

**DATA/ACCESS CONTROL/CAMERA CABLING**

**WILL ROGERS BIRTHPLACE RANCH**

**BIRTHPLACE HOME RESTORATION**

**ADDENDUM 1**

**June 24, 2025**

1. Refer to the attached **CABLING & DATA DROP PLAN dated 6.24.25** and the **CAMERA & ACCESS CONTROL LAYOUT dated 6.24.25**. These drawings are provided to assist bidders with all drop locations.
2. Conduits and pathways, if required, will be provided and installed by others (Owner’s GC). This includes conduit from IDF closet to Barn and IDF closet to Birthplace Home.
3. All ethernet cabling to be Panduit.
4. A diagram/plan for the barn will not be provided. Bidders shall include the equipment located in the barn mechanical room as discussed at the pre-bid along with the cabling required in the mechanical closet overhead to the SW corner of event room as discussed.

**Question & Answer Log for questions submitted prior to deadline:**

* + - 1. For the wall mount cabinet in the barn, would you approve a Panduit wall mounted cabinet WME3BL. This cabinet would allow the doors to be removed if needed to access.

**Response:** Proposed cabinet is acceptable.

* + - 1. For the Panduit face plates, do you prefer plastic or stainless steel?

**Response: Stainless Steel in Barn, plastic in Birthplace Home.**

**-END OF ADDENDUM 1-**