Addendum to bid requirements

Cherokee Nation Natural Resources

Environmental Programs – Clean Air Program

Request for Bids

The Cherokee Nation Clean Air Program is requesting bids for a UV absorption ozone analyzer to be operated for regulatory ambient air monitoring.

Addendum to requirements:

-Instrument must be of new condition and include a calibration/testing data sheet.

--Please provide an itemized price quote, including shipping--