Request for Proposal (RFP)

Demolition of Three Horse Barns

Blue Ribbon Downs Training Facility – Sallisaw, Oklahoma

Issued by: Cherokee Nation Businesses

1. Project Description

Cherokee Nation Businesses is requesting proposals from qualified and licensed contractors to provide demolition and site clearing services for three (3) existing horse barns located at the Blue Ribbon Downs Training Facility in Sallisaw, Oklahoma.

The intent of this project is to fully demolish and remove all existing barn structures, foundations, and associated materials, and to leave the site in a clean, safe, and level condition suitable for future use.

2. Scope of Work

The selected contractor shall furnish all labor, equipment, materials, supervision, and services necessary to complete the demolition of three (3) horse barns, including, but not limited to, the following:

Demolition and removal of all existing structures associated with the three horse barns.

Removal and disposal of all concrete materials, including slabs, footings, and foundations.

Removal and disposal of all wood materials.

Removal and disposal of all metal materials.

Removal and disposal of all miscellaneous trash and debris generated by the demolition activities.

Provide complete haul-off services for all demolished materials.

Proper disconnection and capping of existing utilities serving the barns, including:

Water services

Any existing sanitary or drainage connections associated with the structures

Perform final site cleanup upon completion of demolition activities.

All demolition debris shall be legally disposed of at approved disposal facilities in accordance with all federal, state, and local regulations.

3. Site Conditions

The work will be performed at the Blue Ribbon Downs Training Facility located in Sallisaw, Oklahoma.

Contractors are responsible for verifying site conditions and existing utility locations prior to beginning demolition activities.

4. Safety and Environmental Requirements

The contractor shall:

Comply with all applicable OSHA safety regulations.

Maintain a safe work environment at all times.

Provide proper traffic control, barricades, and signage as required.

Prevent migration of debris and dust beyond the project limits.

Protect adjacent facilities and operations during demolition activities.

5. Utility Coordination

The contractor shall coordinate all required utility disconnections with the appropriate utility providers and the Owner prior to demolition.

All utilities shall be safely disconnected, capped, and verified inactive prior to structural demolition.

6. Schedule

The contractor shall provide a proposed project schedule indicating:

Mobilization

Demolition start

Final cleanup

Substantial completion

7. Proposal Requirements

Each proposal shall include, at a minimum:

Lump-sum price for complete demolition and haul-off services as described in this RFP

Estimated project duration

Company qualifications and relevant demolition experience

Proof of licensing and insurance

Safety record and safety plan summary