CHEROKEE OUTPOST- TAHLEQUAH, OK

Cherokee Outpost is accepting bids for 1- 32” BRAVO SNAP LOCK WATER TIGHT SUMP LID KIT

Bidder to provide all materials and installation for the project.

Scope of work

- Remove backfill material between existing STP sump riser and manhole skirt on the south prem tank.

- Install and level the new Bravo sump kit in the south premium STP sump and extend 6-8”.

- Laminate kit to the existing sump riser.

- After full cure, check lamination joint and install new Snap-Lock cover.