CHEROKEE NATION BUSINESSES, L.L.C.

REQUEST FOR PROPOSAL

PROJECT NAME: Third-Party Building Envelope Consultant for New Wilma P. Mankiller Clinic Addition Project

RFP NUMBER 78031

August 2019

Table of Contents

I.	Introduction

II.	Instructions to Bidder

III.	Bid Schedule

IV.	Project Description

V.	Structure of the RFP Submittal

VI.	Consultant Acknowledgements

VII.	 Business Relationship Affidavit

VIII.	Non-Collusion Affidavit

IX.	Insurance Requirements

SECTION I

INTRODUCTION

SOLICITATION TO BID

CHEROKEE NATION BUSINESSES, L.L.C.

# PROJECT NAME:  Third-Party Building Envelope Consultant for New Wilma P. Mankiller Addition Project

# PROJECT MANAGER:  W.C. Gernandt III

Sealed bids are being solicited by Cherokee Nation Businesses, L.L.C. (“CNB”) for third party design peer review and inspection services related to the design and construction of the new Wilma P. Mankiller Clinic Addition in Stilwell, OK. The complete scope of work is included in section IV.

All proposals should be sent by express delivery, regular mail or hand delivery to CNB’s Catoosa Corporate office at the following address, to be received no later than 2:00 pm on August 26, 2019.

IF BY EXPRESS DELIVER OR REGULAR MAIL

Cherokee Nation Businesses, L.L.C.

Attn: Tina Jones

Senior Buyer

777 W. Cherokee Street

Catoosa, Oklahoma 74015

IF BY HAND DELIVERY

Cherokee Nation Businesses, L.L.C.

Corporate Building #3

Attn: Tina Jones

Senior Buyer

1102 N. 193rd E. Ave.

Catoosa, OK 74015

It is the intention of CNB that if an acceptable proposal is received, the selected firm will be notified in writing by email within 30 days of bid opening and any follow-up meetings.

Any bid received more than ninety-six (96) hours, excluding Saturdays, Sundays and holidays, before the time set for the opening of bids, or any bid so received after the time set for opening of Bids, shall not be considered and shall be returned unopened to the bidder submitting same.

The bidder must supply all the information required by the Contract Documents. One hard copy and one electronic copy on a USB Thumb Drive are required.

SECTION II

INSTRUCTIONS TO BIDDER

1.00	   DEFINITIONS

1.01	The “Contract Documents” and “Contract” shall mean and shall include the Solicitation to Bid, Instructions to Bidder, Bid Schedule, Contract Agreement, Statement of Work and Specifications, and attachments, exhibits and all other documents attached hereto and thereto, incorporated by reference herein, and therein, said accumulation of documents constituting the entire agreement.

1.02	“Company” refers to Cherokee Nation Businesses.

1.03	“Company Representative” refers to Cherokee Nation Businesses’ Project Manager as identified in Section I, Solicitation to Bid, or other authorized representative of Company as may be designated in writing.

1.04	“Consultant” refers to the party contracting with the Company in the Contract Documents, acting directly or through agents, subcontractors, or employees.

1.05	“Subcontractor” refers to the party contracting with the Consultant for any part of the Work required by the Contract Documents.

1.06	“Work” includes all services to be performed or things to be furnished by the Consultant, or both services and things, as the context reasonably requires, including all supervision, labor, materials, supplies, tools, equipment, light, water, fuel, power, heat, transportation, or other facilities necessary for the discharge of all of the Consultant obligations under the Contract Documents.

1.07	“Construction Documents” refers to the architect and engineer’s design drawings and specifications related to the Wilma P. Mankiller Clinic Addition project.

2.00	DESCRIPTION OF WORK

2.01	The Work to be performed is described in Section IV, Project Description, of the enclosed Contract Documents.

3.00	FAMILIARITY WITH CONTRACT DOCUMENTS AND PROPOSED WORK

3.01	The bidder has the responsibility for examination of all Contract Documents, an inspection of all worksites, and familiarization with all conditions concerning the Work.  Failure or neglect of the bidder to discharge this responsibility will not excuse nonperformance.

3.02	The bidder has the responsibility to estimate the time and quantities of work required to complete the Work.  Failure or neglect of the bidder to discharge its responsibility will not excuse nonperformance.

4.00	BIDDING INSTRUCTIONS

4.01	The bidder shall make his bid by inserting the bidder's figure in the applicable blanks of the Bid Schedule, by initialing those inserted figures, by completing any forms, by executing the Contract Documents and by returning the entire Contract to the Company.

4.02	The bidder must furnish with its bid, a completed, signed and notarized Business Relationship Affidavit, a copy of which is included in the Contract Documents as Section VII.

4.03	The bidder must furnish with its bid, a completed, signed and notarized Non-Collusion Affidavit, a copy of which is included in the Contract Documents as Section VIII.

4.04	The bidder must furnish, with its bid, a sub-consultant plan indicating what amount of the Contract, either in dollar estimate or percentage of work estimate, will be subcontracted, and the Indian-owned status, if any, of those sub-consultants, including tribal identification.

4.05	Bids shall be submitted at the time and place indicated in the Solicitation to Bid and shall be enclosed in a sealed envelope, marked with the Project Title, Contract Number, Name, and Address of the bidder, and accompanied by the other required documents.  If the Bid is sent through the mail or other delivery system, the sealed envelope shall be enclosed in a separate envelope addressed to the Cherokee Nation Businesses, L.L.C., Attn: Tina Jones, with the notation “SEALED BID - DO NOT OPEN” on the face thereof.

5.00	QUALIFICATION OF BIDDERS

5.01	No bid will be accepted unless the bidder can, if requested, show to the satisfaction of the Company evidence of its experience and familiarity with the work of the character specified.  This may include, at the Company's option, evidence of similar work by his firm (or principal employees) that has been performed satisfactorily and completed during the past five (5) years.

5.02	No bid will be accepted unless the bidder can show to the satisfaction of the Company evidence of his financial ability to perform the Work successfully and properly, to completion.

5.03	If bidder has a parent company or relies on a parent company to obtain or fulfill any of the Work to be contracted, then Company has the right to required bidder's parent company to provide a guarantee of bidder's proposal and the performance of any obligations arising under the Contract Documents.

5.04	In the awarding of this Contract and the performance of these Contract Documents, Company and Consultant and its subcontractor(s) shall, to the greatest extent feasible, give preference to Indian organizations, Indian owned enterprises and individuals as certified by TERO.  First preference shall be given to members of the Cherokee Nation and their businesses.  Second preference shall be given to members of all other federally recognized tribes.

6.00	INTERPRETATIONS

6.01	All questions about the meaning or intent of the Contract Documents shall be submitted to the Company Representative in writing.  Replies will be issued by Addenda mailed to, delivered or sent by facsimile to all parties recorded by Company as having received the Contract Documents.  Questions received less than two days prior to the date for the opening of bids will not be answered.  Only questions answered by formal written Addenda will be binding.  Oral and other interpretations or clarifications will be without legal effect.

7.00	CONTRACT TIME

7.01	The number of days within which, or the date by which, the Work is to be completed (the “Contract Time”) is set forth in the Bid Schedule and will be included in the Contract Agreement.

7.02	The Contract Time for the work to be performed is the essence of the Contract Agreement.  Delays and extensions of time may be allowed in accordance with General Terms and Conditions attached to the Contract Agreement.

8.00	REJECTION OF BIDS

8.01	Bids received more than ninety-six (96) hours, excluding Saturdays, Sundays and holidays, before the time set for opening of bids, as well as bids received after the time set for opening of bids, will not be considered and will be returned unopened.

8.02	Company reserves the right to reject any and all bids when such rejection is in the best interest of Company.  All bids are received subject to this stipulation and Company reserves the right to decide which bid shall be deemed lowest and best.  A violation of any of the following provisions by the bidder shall be sufficient reason for rejecting his bid, or shall make any Contract between Company and the Consultant that is based on his bid; (i) null and void; divulging the information in said sealed bid to any person, other than those having a financial interest with him in said bid, until after bids have been opened; (ii) submission of a bid which is incomplete, unbalanced, obscure, incorrect, or which has conditional clauses, additions, or irregularities of any kind not in the original Bid Schedule, or which is not in compliance with the Instructions to Bidder and Solicitation to Bid, or which is made in collusion with another bidder. The foregoing list is non-exhaustive and Company reserves the right to reject a bid or nullify any Contract between Company and the Consultant that is based on his bid for any other reason it deems is in the best interest of the Company.

9.00	BIDS TO REMAIN OPEN

All bids and pricing submitted under this RFP shall remain valid and open for sixty (60) days after the day of the bid opening, but Company may, in its sole discretion, release any bid prior to that date.

- AWARD OF CONTRACT

10.01 	Company reserves the right to reject any and all bids, to waive any and all bid document requirements and to negotiate contract terms with the successful bidder, and the right to disregard all nonconforming, nonresponsive or conditional bids.  Discrepancies between words and figures will be resolved in favor of words.  Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum.

10.02 	Company reserves the right to issue one award, multiple awards, or reject all bids. All quotes are subject to negotiation prior to award. Awards may be issued without discussion of quote received, and quotes should initially be submitted on the most favorable terms from a price and technical standpoint.

10.03  	In evaluating bids, Company shall consider the qualifications of the bidders and whether or not the bids comply with the prescribed requirements.

10.04 	Company may consider the qualifications and experience of sub-consultants and other persons and organizations proposed for those portions of the Work as to which the identity of sub-consultants and other persons and organizations must be submitted.  Operating costs, maintenance considerations, performance data and guarantees of materials and equipment may also be considered by Company.

10.05 	Company may conduct such investigations as it deems necessary to assist in the evaluation of any bid and to establish the responsibility, qualifications and financial ability of the bidders, proposed subcontractors and other persons and organizations to do the Work in accordance with the Contract Documents to Company’s satisfaction within the prescribed time.

12.06	Company reserves the right to reject the bid of any bidder who does not pass any such evaluation to the Company’s satisfaction.

12.07	In the awarding of this Contract and the performance of these Contract Documents, Company, Consultant shall, to the greatest extent feasible, give preference to Indian organizations, Indian owned enterprises, and individuals.  First preference shall be given to members of the Cherokee Nation. Second preference shall be given to members of all other federally recognized tribes.

12.08	The successful bidder shall execute and deliver the Contract Agreement, within five (5) calendar days of receipt of the Notice of Award. If the successful bidder fails to execute and deliver the Contract Agreement, Consultant Performance Bond and the required certificate of insurance within five (5) calendar days of the Notice of Award, Company may annul the Notice of Award.

13.00	BEGINNING WORK

13.01	The Work shall be commenced immediately (not more than five calendar days) after the execution of the Contract Agreement unless otherwise agreed by the parties.

14.00	CONSULTANT LIABILITY INSURANCE REQUIREMENTS

14.01	No Work is to be commenced and no invoices will be paid until Company is in receipt of a Certificate of Insurance covering all the requirements outlined in Section IX Insurance Requirements.

15.00	RETURNING OF CONTRACT DOCUMENTS

15.01	Whether a bid is submitted or not, this book of Contract Documents and any accompanying documents are to be returned intact.

  - The successful bidder will be furnished necessary copies of this book and documents, conforming to the bid accepted by the Company.

16.00   INVOICING REQUIREMENTS

16.01	All invoices for the Work submitted by the successful bidder must be coded in accordance with CNB policies.  The successful bidder will be responsible for meeting with a representative of CNB's Accounting Department regarding necessary coding requirements and complying therewith.

SECTION III

BID SCHEDULE

CHEROKEE NATION BUSINESSES

Third-Party Building Envelope Consultant for New Wilma P. Mankiller Addition Project

A bid of                                                  (Hereinafter called “Bidder”), and existing under the laws of the State of __________, doing business as *                                                        .

In compliance with your Solicitation to Bid, Bidder hereby proposes to perform all work for RFP 13626 and any alternates thereof, in strict accordance with the Contract Documents, within the time set forth therein, and at the prices stated below.

By submission of this Bid, Bidder certifies, and in the case of a joint Bid, each party thereto certifies as to his own organization, that this Bid has been arrived at independently, without consultation, communication, or agreement as to any matter relating to this Bid with any other Bidder or with any competitor.

The bidder hereby agrees to commence work under this Contract on or before a date to be specified in the Notice to Proceed and to fully complete the Work following the design and construction schedule of the new clinic.

BIDDER AGREES TO PERFORM THE WORK DESCRIBED IN THE CONTRACT DOCUMENTS FOR THE FOLLOWING PRICES:

BASE BID

1.	Total scope of work including meetings, design review, time on site, and generating reports as obligated under the Contract Documents

TOTAL PRICE IN WORDS

Dollars   $  __________

ADDITIONAL REIMBURSABLE EXPENSES FOR TRAVEL WILL BE CALCULATED AT THE CURRENT FEDERAL RATE.

SUBMITTED ON                                      , 20__

BY:

COMPANY:

IF BIDDER IS:

AN INDIVIDUAL

By:                                                                                      	                       (Individual’s Name)

doing business as:

Business address:

Phone No.:

A PARTNERSHIP

By:

(General Partner)

Business address:

Phone No.:

A CORPORATION

By:   ________________________________

(Corporation Name)

State of Incorporation:

By:

(Name of Person Authorized to Sign)

Title:

(Corporate Seal)

Attest:

(Secretary)

Business address:

Phone No.:

A JOINT VENTURE

By:

(Name)

Business address:

By:

(Name)

Business address:

(Each joint venturer must sign.  The manner of signing for each individual, partnership and corporation that is a party to the joint venture should be in the manner indicated above.)

SECTION IV

PROJECT DESCRIPTION

CHEROKEE NATION BUSINESSES

Third-Party Building Envelope Consultant for New Wilma P. Mankiller Addition Project

PROJECT MANAGER: W.C. Gernandt III

CNB is requesting a proposal to secure an independent third-party peer review consultant for the building envelope of the New Wilma P. Mankiller Addition Project in Stilwell, Oklahoma.  The reviewer will serve in a capacity for CNB (Owner) free of conflict from the design and construction activities of the project.  The Owner is committed to having a third-party review for its facility to systematically optimize the building envelope and related systems so that they operate efficiently and effectively in accordance with all applicable, codes, laws, and regulations.  It is the intent of the Owner to contract with a third-party building envelope professional to ensure that the fundamental envelope and related systems are installed as designed to deliver functional and efficient performance.  The third-party reviewer will review, inspect, and report on the design and construction activities related to all components of the building envelope of the new clinic.  The third-party reviewer will submit deliverable reports to Owner according to a project schedule set by the construction and consulting team and agreed upon by the Owner.  The third-party reviewer will contract with and perform services directly on behalf of the Owner.

RESPONSIBILITIES OF THE THIRD PARTY REVIEWER

- Develop, coordinate, and execute a review plan for the design and construction phases of the project.

- Review design documents and specifications and provide design review comments for the 65%, 95%, and 100% design submissions by the architect and engineering team.

- Perform on-site reviews work during the construction phase and provide observation reports with recommendations to ensure the work in being completed in accordance with the Contract Documents and applicable codes, laws, and regulations.

- Perform required testing to ensure construction manager and subcontractors provide a complete and operational system to ensure the building continues to operate as intended.

- To be available for problem solving and/or the resolution of non-conformance issues of deficiencies.

- The third-party reviewer is not responsible for design concept, design criteria, general construction scheduling, cost estimating, or construction management.

SCOPE OF SERVICES

Wilma P. Mankiller Clinic Addition Third-Party Building Envelope Peer Review

The Wilma P. Mankiller Clinic Addition is a new build located in Stilwell Oklahoma. The building consists of 80,000 square foot building. The two floors are approximately 40,000 square feet each. The exterior will consist of masonry, EFIS, and concrete. The roof will be a Low Sloping Modified Bitumus surrounded with a Standing Seam Metal roof to maintain the look of the existing East Wing. The estimated construction schedule for the project is 13 months. TERO Law will apply.

Scope of Work:

The Consultant must provide Design Peer Review (DPR), Submittal Reviews, Attendance at Meetings, Quality Assurance

Services as outlined below:

- Perform an initial Design Peer Review of the 65% Construction Documents (plans and specifications) a secondary DPR of the 95% CDs and a final review of 100% CDs. Provide comments and recommendations on the proposed roofing, waterproofing and building envelope design described in the construction documents.

- Provide construction consulting services and perform peer reviews of the submittals related to the exterior building envelope, including but not limited to all Waterproofing, Roofing, Weather-Resistive Barrier and Flashing Tape and related systems.

- Attend and participate in various design meetings with the General Consultant, Subcontractors, Material Suppliers and the Architect on issues related to the building envelope as requested by the Owner or Owner’s Representatives.

- Perform periodic Quality Assurance Construction Observations and document the observations in written reports. These services will be performed as required by the consultant to provide a complete scope of work. The Owner may also request QA observations for work in progress at any point during the project.

- Perform ASTM E-1105 water testing with procedures, failure criteria, etc. in accordance with AAMA 502-12 and/or AAMA 501.2 water nozzle testing.

II. REQUIRED SERVICES DETAILS

  - PEER REVIEW

  - Provide a peer review of the 65%, 95%, and 100% Construction Documents. Review the Architectural Drawings and Specifications (Construction Documents) that pertain to the construction of the subject project. Also, review technical specifications pertaining to the building envelope, waterproofing, roofing, and applicable systems.

    - Review proposed Construction Documents related to the exterior building envelope and provide written comments regarding control of water penetration, control of water vapor accumulation and condensation, building air leakage and other issues related to the building envelope. The review will address design concepts, design criteria, compliance with codes, and compliance with generally accepted local industry standards, constructability, and compliance with the Owner’s performance requirements, if any, for this project. The Consultant’s written review will include recommendations related to the Construction Documents and building envelope design.

    - Review specifications and construction drawings related to roofing and waterproofing. The building envelope review proposed under this scope of work shall cover the following topics.

      - Sheet and Membrane Waterproofing

      - Air Barriers

      - Balcony, Breezeway, and Podium Waterproofing

      - Exterior Doors and Windows

      - Exterior Cladding Systems

      - Flashing Systems

      - Building Sealants

      - Low Slope and/or Steep-Sloped Roofing Systems

      - Attic Ventilation

    - After completing each DPR, the Consultant will participate in a 1-hour teleconference review meeting with the Client to go over the review comments, answer questions, provide additional input, and discuss Consultant’s recommendations.

  - QUALITY ASSURANCE CONSTRUCTION OBSERVATIONS

    - The Consultant will visit the site to conduct periodic Quality Assurance Construction Observations on an “on-call” basis. Propose an estimated time for prior notice to schedule each site visit. During site visits, the Consultant must document the existing and on-going construction conditions specific to roofing and waterproofing components of the project. While on-site, the Consultant must note the construction materials used and document the materials’ conformance with project specifications. The Consultant’s representative will observe on-going roofing/waterproofing system installation and compare the work with the project’s approved Construction (restoration) Documents for conformance with the project drawings and specifications, manufacturer’s published details and available product/system literature, and generally accepted roofing/waterproofing practices. The Consultant will document non-conforming items and leave a copy of the field notes at the construction office for the Client’s use until our written report is issued.

    - A written report of the findings and observations, including photographs, will be provided following each site visit. Roofing and waterproofing observation reports will be reviewed by the Consultant’s roofing and waterproofing professionals and delivered electronically to all recipients designated by the Client.

  - SUBMITTAL REVIEWS

    - The Consultant will perform reviews of submittals including comments on products, redline drawings, and provide opinions on the systems submitted and their compliance with the construction documents. After the Consultant’s initial review of the documents, the Consultant will perform a brief re-review of the resubmission, if necessary, to determine if all comments have been addressed.

  - ATTENDANCE AT DESIGN MEETINGS

    - At the request of the Client, the Consultant must to attend and participate in various design meetings with the General Consultant, Subcontractors, Material Suppliers and the Architect on issues related to the building envelope.

2.5 STANDARDIZED WATER PENETRATION RESISTANCE TESTING

2.5.1 For negative pressure testing, the Consultant must be at the site the day before the agreed date of testing to set up for testing and build the testing chamber. On test day, the Consultant will perform field water penetration resistance tests in accordance with ASTM E1105 on as many windows as possible. Tests shall be conducted by extracting air from the chamber at the rate required to maintain the stipulated static air pressure difference across the assembly while simultaneously spraying water onto the exterior face of the test specimen and monitoring the specimen for evidence of water penetration. According to ASTM E1105 requirements, no uncontrolled water shall pass the innermost plane of the test specimen or enter the wall cavity during testing. If a test fails and at the request of the client, the Consultant will remove the chamber and perform an investigation to determine the cause of the failure. The Consultant will make recommendations to remediate the source of the test failure and if requested by the client will retest the specimen when the remedial work has been completed and is ready for retesting

2.5.2. For nozzle water testing the Consultant will arrive at the job site the morning of the testing and perform standardized nozzle water testing in general accordance with the requirements of AAMA 501.2. We will test as many assemblies as possible during the test day.

2.5.3 The results of all field-testing and analysis will be presented in a written report, which will include observations, test results, evaluation of field data, and recommendations appropriate to the test results and conditions observed.

III. FEES FOR SERVICES FOR SCOPE OF WORK

3.0 FEE STRUCTURE:

- Perform our initial 65% Design Peer Review services as outlined in this section the proposal for a lump sum fee of           Dollars and 00/100 ($      ), which includes all reimbursable expenses.

- Perform Design Peer Review services at 95% completion as outlined in this section of the proposal for a lump sum fee of            Dollars and 00/100 ($      ), which includes all reimbursable expenses.

- Perform Design Peer Review services at 100% completion as outlined in this section of the proposal for a lump sum fee of            Dollars and 00/100 ($      ), which includes all reimbursable expenses.

- Provide miscellaneous construction consulting services and to perform peer reviews of the building envelope submittals as outlined in this section of the proposal. The Construction Consulting services and submittal reviews will be performed based on (Proposing Company) Hourly Corporate Fee Schedule with a Not-to-Exceed fee of            Dollars and 00/100 ($      ).

- Attend meetings related to the design of the building envelope components and as outlined in this section of the proposal. Each meeting will be performed for a lump sum total of           Dollars and 00/100 ($        ) per meeting, inclusive of expenses.

- Perform building envelope, waterproofing, flashing, and roofing Quality Assurance Construction Observation site visits and prepare a written report as outlined in this section of the proposal for a lump sum fee of          Dollars and 00/100 ($        ), per site visit inclusive of expenses.

- Set-up and perform water infiltration and water nozzle testing, analysis and reporting as described in this section of the proposal for the sum of             Dollars and 00/100 ($)     for the 1st day of testing and                   Dollars and 00/100 ($         ) for the 2nd consecutive day of testing (if necessary) which is inclusive of expenses.

- Provide a Not to Exceed (NTE) price for all anticipated costs. The NTE should include your Base Bid amount provided in Section III. In your NTE please list the estimated number of visits for each section above that would require a site visit. The estimated Not to Exceed proposal fee of          Dollars and 00/100 ($        ), for the entire scope of work inclusive of all site visits and expenses.

Please list any exclusions or clarifications you feel are necessary to incorporate into an agreement. Any potential for additional costs must be identified. Please list any equipment, labor, or materials that will be additional charges, if any.

Please provide an hourly rate sheet for any employee whose time will be charged against the job. The hourly rate sheet should include names with the personnel’s title. This provides CNB/CNPM a labor rate for any additional services the owner may requests. Also, list any markups that will apply to invoices. The typical allowed OH&P is Fifteen Percent (15%).

SECTION V

STRUCTURE OF THE RFP SUBMITTAL

One hard copy and one electronic version on a USB Thumb Drive are required of the responses are due.  Each response should contain the following information:

Letter of Commitment: Indicate your firm's commitment to the project, familiarity with health care facilities, its project and its commissioning needs and how your firm will meet or exceed all expectations.

Firm History:	Submit a brief history of the firm and explain the firm's ownership.  If a joint venture for services is proposed, a brief history of both firms is required.

Joint Venture:	Clearly indicate if services will be provided solely by the firm responding or if there is a joint venture/partnership/subcontractor is providing the services.  Explain how the workload will be distributed and if firms have had past experience working together.  Provide project information on which firms participated together.  The owner will have final approval over proposed joint ventures/partnerships/subcontractors.

Firm's Capacity: Provide information indicating the capacity of the office that will provide the service.  Provide the number of professional staff members your office employs.

Experience: List the projects that your firm has been involved in the last five years (no more than 10 projects).  It is preferable that firms have Cherokee Nation experience.  List the project name, location, size, cost, duration of the project, project delivery method (i.e. Design/Bid/Build, Design/Build, Construction Management at Risk, etc.), systems commissioned and a brief description of the work.  Provide the contact/reference information of the specific individuals from the Owner, the Architect, and the Construction Manager that worked with your team through the project.

Project Team: Identify the project principal, the project manager, and key staff who will be involved in this project team.  Describe how the team's qualifications and experience relate to the specific project.  Include resumes of staff to be assigned to the project and a statement regarding the availability of staff to support the project

Indian Preference: Cherokee preference and Indian preference will be given to those firms certified as Cherokee-owned and other Indian-owned by the 	Cherokee Nation Tribal Employment Rights Office (TERO), P.O. Box 948, Tahlequah, Oklahoma, 74464 (918-453-5000).  Proof of current certification must accompany all submittals.  To receive points during the evaluation process for Indian preference, the firm must demonstrate they will control, direct and perform a minimum of 51% of the Scope of Services outlined in this RFQ and the final Contract document.

Further Qualifications: Provide information indicating your firm has personnel assigned to this project that meets as many of the following requirements as possible:

a)	Recent extensive experience in the operation/troubleshooting of 				building envelopes.

b)	Extensive field experience with health care facilities

d)	Experienced in energy-efficient designs.

CONSULTANT’S ACKNOWLEDGEMENTS

By submitting a qualification statement in response to this RFQ, the Consultant understands, represents and acknowledges that:

*	All information provided by, and representations made by, the Consultant 			in the submittal are material and important and will be relied upon 			by the Nation in awarding any contract;

*	No employee of the Nation has an ownership interest in the business or is 			an employee of the business;

*	The contents of the qualification statements have been compiled				independently and without consultation, communication or 				agreement with any other Consultant or potential Consultant;

*	No contents of the Qualification Statement have been disclosed to 				any other firm or person who is a Consultant or potential Consultant, 		and they will not be disclosed on or before the submission 				deadline specified in the cover letter of this RFQ:

*	No attempt has been made or will be made to induce any firm or person to 		refrain from submitting a Qualification Statement on this solicitation;

*	The Qualification Statement is made in good faith and not pursuant to any 		agreement or discussion with, or inducement from, any firm or 			person to submit a complementary Qualification Statement;

*	To the best knowledge of the person signing the Qualification Statement  			for the Consultant, the Consultant, its affiliates, subsidiaries, 				officers, directors, and employees are not currently under 				investigation by any governmental agency and have not in the last 			four (4) years been convicted or found liable for any act prohibited 			by federal, state, local or tribal law in any jurisdiction, involving 			conspiracy or collusion with respect to seeking or acquiring any 			public 	contract;

*	To the best of the knowledge of the person signing the Qualification Statement for the Consultant and except as otherwise disclosed by the Consultant in its Qualification Statement, the Consultant has no outstanding, delinquent obligations to any federal, state, local or tribal entity, including but not limited to, any tax liability.

____________________________

Print Name

_____________________________

Title

_____________________________

Company

_____________________________

Address

_____________________________

City, State, Zip

_____________________________

E-Mail Address

_____________________________

Telephone Number

_____________________________

Fax Number

_____________________________

Signature of Authorized Individual

_____________________________

Date