## Sheet1
| Questions: | Responses
1 | 1) The flat roof deck is concrete and calls for R-30 insulation plus 1/4” full tapered insulation also plus crickets! Please clarify where the R-30 begins. The way it is written the insulation will have a depth of approx. 5.5 inches at the drain. According to our manufacturer no need for vapor barrier or vapor barrier board. Please clarify if you require either. | The entire roof with crickets will maintain R-30 minimum, No vapor barrier or vapor barrier board required
2 | 2) Under the Standing Seam metal roof, again R-30 will be installed over metal deck! Are the Z purlins required. I have done both ways with and without! You call for cover board but don’t address how to anchor. Please clarify this and I would say as other roof manufacturers would also it would be much cleaner to install nailboard and achieve your requested R-value and a good base to anchor your roof plus provide all fire ratings and wind uplifts, please advise? Also, this will allow the installer a chance to get your building dried in quicker. Nailboard is only tested substrate for this application! | The Z purlins are not required, Nailboard is acceptable as long as it follows manufacturers standards
3 | 3) Densglas or other products are not approved for backing on parapet walls due to the fiberglas facer. Securock should be installed or a product with no fiberglas facer. Please advise. | Refer to 06 1643 in specs
4 | 4) Berridge does not recommend a slip sheet under metal roof. Please clarify action | Follow manufacturer's recommendations