Scope of Work

The Cherokee Nation Entertainment is seeking qualified flooring contractors to provide labor and necessary equipment and materials for the removal and replacement of tile flooring in the River Cane Buffet at the Cherokee Casino in West Siloam Springs, Oklahoma.

The work consists of the demolition, disposal and replacement of the existing tile and thin set, floor leveling and installation of new floor tile.  The new tile will be supplied by the contractor.

- Porcelain Floor Tile: PFT – 1

  - Manufacture: Crossville Tile

  - Product: Universe (CTS-MRC-UNVI-BEI 1224R)

  - Color: Beige

  - Size: 12x24

The grout to be furnished by contractor is Fusion Pro Single Component Grout.  The estimated Square footage for removal and replacement is approximately 7,750 SF.  Contractor to verify actual square footage.

Baseboards to be removed and replaced by vendor as specified:

- Rubber Base: RB-1

  - Manufacture: Roppe

  - Color: 110 Brown

  - Profile: PV5055 – (5 – ½” high)

The buffet will remain in operations while work is being performed.  Contractor is to complete dedicated sections of the tile replacement starting Sunday night through Thursday morning. Work in to be performed at night, Sunday thru Wednesday. Areas worked are to be cleaned and picked up every night so the Buffet can open to service Casino Patrons during the day. Contractor is to supply waste containers for disposal of debris.

Cherokee Nation Entertainment will remove and replace non-permanent fixtures