Description: Apply non-slip floor treatment to areas as specified by our safety dept. All treatment work performed and outlined in this proposal to be performed at the Cherokee Nation Entertainment in Catoosa, OK:

- Vendor will enter the facility at the appointed hour and contact the personnel in charge. Prior to treatment correspondence and telephone contacts with management Crew Supervisor will review the installation process with the on-duty personnel. When this meeting has been completed, the Crew Supervisor will conduct on-site tests on each floor to determine the proper treatment time.

- Vendor will then sweep and, if necessary, clean the area to be treated with Emulsifier Cleaner Degreaser.

- Technicians will then apply the appropriate Anti-Slip Tile Solution to each surface. This will raise the coefficient of friction (COF) of the surface to a level where it will be safer even when wet.

- By periodically monitoring the COF during the treatment process, the vender will determine when the desired COF has been attained.

- Following the removal of all materials and equipment from the job site, the Vendor will conduct a review of the Maintenance Procedures Manual with the supervisor on duty.

- Vendor will conduct a telephone or email safety inspection with the Cherokee Nation Entertainment in Catoosa, OK every 45-60 days. The safety survey will keep safety awareness high with employees and identify problem areas before problems occur. A report of these surveys will be made available upon request. Copies will be provided upon request. Vender will provide on-site inspections at no cost once per year.

- Vendor will warrant the anti-slip treatment for a full 3 years. If the anti-slip treatment fails at any time during the three-year period, Vender will retreat the failed area(s) at no charge.

It is the intention of Owner that if an acceptable proposal is received, the selected firm will be notified in writing within 10 business days of bid opening. Any bid received after the time set for opening of Bids, shall not be considered and will be returned. It is the intention of CNB that if an acceptable bid is received, the Contract will be awarded by within 30 days of bid opening. Please note that winning bid(s) will be published. CNB reserves the right to issue one award, multiple awards, or reject all bids. All bids are subject to negotiation prior to award. Awards may be issued without discussion of bid received, and bids should initially be submitted on the most favorable terms from price and technical standpoint. Any award resulting from this Bid/Proposal will be subject to CNB Terms and Conditions. Your bid should indicate hourly ($) rate (when applicable), individual work effort, delivery schedule or time of completion. Any item(s) with exceptions, substitutions, exclusions, additions or qualifications must be noted and clearly indicated on return bid.

TERO:

This procurement is subject to Cherokee Nation Tribal Employment Rights Office (“TERO”) regulations that include a fee of ½ of 1% of total contract award and, if applicable, the completion of a TERO Labor Agreement and payment of associated fees. The successful bidder’s award will be published on the Cherokee Nation’s procurement website and their performance will also be measured, recorded, and reported to the Cherokee Nation.   The complete Act is available by contacting the TERO OFFICE at Tahlequah 918-453-5000.  TERO bidders are required to provide a copy, front and back, of their TERO certificate with return bid(s) and failure to do so will result in such bidders not receiving the TERO preferences afforded TERO bidders under the CNE procurement and contracting policies and procedures.

CHEROKEE NATION GAMING COMMISSION (CNGC) - This requirement may be subject to CNGC policies and procedures. Licensing requirements may be required of the successful vendor(s) to be coordinated with the CNGC. These requirements may include licensing fees as well security and background checks of vendor(s) employees. Current policies and procedures can be found on the Cherokee Nation website or by contacting the CNGC office at 918-431-4116.

BONDING NOTICE CNE generally requires payment and performance bonds for all construction contracts in excess of $100,000. However, qualified TERO-certified firms are encouraged to bid, regardless of bonding capability.

By submitting a response to this Request for Proposal, the Contractor certifies to the best of their knowledge and belief that the Subcontractor, the firm, or any of its principals are not presently debarred, suspended, or proposed for debarment by any federal, state, local or tribal entity.  This certification is a material representation of fact upon which reliance was placed when making award.  If it is later determined the Subcontractor rendered an erroneous certification, in addition to other remedies available to CNB or its entities, CNB may terminate the contract resulting from this Request for Proposal for default.

In accordance with Cherokee Nation Law, 28 C.N.C.A.  §20 no contractors or subcontractors of any Cherokee Nation entity may contract with any business owned by a first degree relative of any elected official of the Cherokee Nation.