Scope of work: Contractor will inspect, test, and certify the fire alarm systems detailed below for Cherokee Nation Entertainment. Contractor will satisfy requirements of the most current edition of NFPA 72 along with applicable regulations. Contractor will conform to the equipment manufacturer recommendations, and verify operation of the fire alarm systems meets those recommendations.

Inspections will be performed in a capacity that will minimize impact to the facility and guests. Testing will take into consideration any Local, State, Federal, or Tribal requirements. Contractor will follow NFPA 72 recommended test methods and frequencies as a minimum guideline for system testing. Complete documentation of testing and along with a written report of any deficiencies will be provided at the conclusion of testing. Audible testing may be conducted during off or non-operational hours and the schedule shall be pre-approved by the Cherokee Nation Entertainment Operations and Corporate Safety.

Property Locations:

- Hard Rock Casino and Hotel

Location: 777 W. Cherokee St., Catoosa, OK   74015

Number of Fire Panels: 14

Manufacturer: Edwards (EST 3), Silent Knight, GE (Fireshield), GE (Fireshield Plus)

Note: The devices listed above are spread out through 3 corporate buildings, Pro Shop, and Outside Smoke Shop.

- Cherokee Hotel and Casino West Siloam Springs

2416 US-412, West Siloam Springs, OK 74338

Number of Fire Panels: 5

Manufacturer: Edwards (EST 3)

- Cherokee Casino & Hotel Roland

109 Cherokee Blvd., Roland, OK 74954

Number of Fire Panels: 2

Manufacturer: Edwards (Est 3), Firelite (MS-905OUD)

- Cherokee Casino Sallisaw

1621 West Ruth Street, Sallisaw, OK 74955

Number of Fire Panels: 1

Manufacturer: Edwards (EST 3)

- Cherokee Casino Tahlequah

3307 Seven Clans Avenue, Tahlequah OK 74464

Number of Fire Panels: 1

Manufacturer: Edwards (EST 3)

- Cherokee Casino Fort Gibson

107 N. Georgetown Road, Fort Gibson. OK 74434

Number of Fire Panels: 2

Manufacturer: Edwards (3XF1SB), Kidde (FX-5 G/R)

- Cherokee Casino Grove

24979 US-59, Grove, OK 74344

Number of Fire Panels: 1

Manufacturer: Vigilant (VM-1R)

- Cherokee Casino Ramona

31501 US-75, Ramona, OK 74061

Number of Fire Panels: 2

Model: Edwards (Fireshield), Edwards (3x-SFS1)

- Cherokee Casino South Coffeyville

1506 US-169 South, South Coffeyville, OK 74072

Number of Fire Panels: 1

Manufacturer: Vigilant (VS1)

- Cherokee Casino Will Rogers Downs

20900 South 4200 Road, Claremore, OK 74019

Number of Fire Panels: 3

Manufacturer: Edwards (EST 3), Firelite (MS 9050UD),  Kidde (FX-5 G/R)