Cherokee Nation Entertainment, LLC, (CNE), a wholly owned tribal company of the Cherokee Nation is seeking qualified bids for a walk-in cooler for Gold Strike Casino MS.

1 each 19’X29’x8.5’ exterior walk-in cooler

Structural Steel Required to reinforce ceiling panels

1 each condensing unit  3HP with winter controls

1 existing condensing unit will be provided

4” insulation urethane walls and cap

Interior and exterior galvanized sheet metal panels

Floorless cooler with vinyl channel screeds

5’ opening 6’4” H with sliding panel door

Vinyl strip curtain

10 each 48” LED light strips

Electrical provided by owner

Site visit required before contract approval

Dumpster will be provided

All bids are to be returned to the Buyer no later than Thursday March 23rd 2023 2:00PM.

All Bids must be submitted electronically.

Please include in your bid cost:

- Equipment

- Delivery

- Removal of old unit and Installation to the Gold Strike Casino 1010 Casino Center Drive Robinsonville MS 38664

- ETA for equipment installation.

Please also include any warranty or maintenance information as well as and lead time. Email john.molinar@cnent.com.

It is the intention of Owner that if an acceptable proposal is received, the selected firm will be notified in writing within 10 business days of bid opening. Any bid received after the time set for opening of Bids, shall not be considered and will be returned. It is the intention of CNE that if an acceptable bid is received, the Contract will be awarded by within 30 days of bid opening. Please note that winning bid(s) will be published. CNE reserves the right to issue one award, multiple awards, or reject all bids. All bids are subject to negotiation prior to award. Awards may be issued without discussion of bid received, and bids should initially be submitted on the most favorable terms from price and technical standpoint. Any award resulting from this Bid will be subject to CNE Terms and Conditions. Your bid should indicate hourly ($) rate (when applicable), individual work effort, delivery schedule or time of completion. Any item(s) with exceptions, substitutions, exclusions, additions or qualifications must be noted and clearly indicated on return bid.

STANDARD “BONDING”:

BONDING NOTICE CNE generally requires payment and performance bonds for all construction contracts in excess of $100,000. However, qualified TERO-certified firms are encouraged to bid, regardless of bonding capability.

DEBARMENT:

By submitting a response to this Request for Proposal, the Contractor certifies to the best of their knowledge and belief that the Subcontractor, the firm, or any of its principals are not presently debarred, suspended, or proposed for debarment by any federal, state, local or tribal entity.  This certification is a material representation of fact upon which reliance was placed when making award.  If it is later determined the Subcontractor rendered an erroneous certification, in addition to other remedies available to CNB or its entities, CNB may terminate the contract resulting from this Request for Proposal for default.

CONFLICT OF INTEREST:

In accordance with Cherokee Nation Law, ,  28 C.N.C.A.  §20 no contractors or subcontractors of any Cherokee Nation entity may contract with any business owned by a first degree relative of any elected official of the Cherokee Nation.